## Sheet1
ItemName | PackageGroup | Brand | TypeGroup | SizeGroup | ItemPrice | Extras
Inveter | Inverters | Mecer | Hybrid | Size-kVA:1.5, Power-kW:1.2 | 3789 | Configurable AC/solar input
Inverter | Inverters | Mecer | Off-Grid | Size-kVA:3, Voltage-V:24, Power-kW:3 | 6000 | Built-in charge controller
Inverter | Inverters | Mecer | Off-Grid | Size-kVA:5, Voltage-48, Power-kW:4 | 11150 | Configurable AC/solar input
Battery | Batteries | MaxLi | Lithium-ion | Voltage-V:12, Energy-kWh:1.2 | 9786 | Chargercurrent-A:80, MaxChargeCurrent-A:100
Battery | Batteries | Hubble | Lithium-ion | Voltage-V:12, Energy-kWh:1.5 | 6995 | MaxChargeCurrent-A:100
Battery | Batteries | Dyness | Lithium-ion | Voltage-V:48, Energy-kWh:2.4 | 11782 | DoD-%:80
Battery | Batteries | PylonTech | Lithium-ion | Voltage-V:48, Energy-kWh:3.5 | 18170 | DoD-%:95
Battery | Batteries | Dyness | Lithium-ion | Voltage-V:48, Energy-kWh:3.6 | 18918 | DoD-%:80
Battery | Batteries | Fusion | Lithium-ion | Voltage-V:48, Energy-kWh:4.8 | 22995 | DoD-%:80
Battery | Batteries | Forbatt | Lead Acid | Voltage-V:12, Energy-Ah:100 | 3356
Battery | Batteries | Deltec | Lead Calcium | Voltage-V:12, Energy-Ah:105 | 2608
Solar | Solar | CNBM | Polycrystalline | Voltage-V:37.5, Power-W:330 | 2250 | MaxPowerCurrent-A:8.89, OpenCircuitVoltage-V:47
Solar | Solar | Renewsys | Polycrystalline | Voltage-V:37.9, Power-W:335 | 2986 | MaxPowerCurrent-A:8.85, OpenCircuitVoltage-V:46.27
Solar | Solar | Canadian | Monocrystalline | Voltage-V:33.9, Power-W:365 | 3269 | MaxPowerCurrent-A:10.78, OpenCircuitVoltage-V:40.6
Solar | Solar | JA Solar | Monocrystalline | Voltage-V:33.96, Power-W:365 | 3177 | MaxPowerCurrent-A:10.75, OpenCircuitVoltage-V:41.13
Solar | Solar | Axitec | Monocrystalline | Voltage-V:34.09, Power-W:370 | 2798 | MaxPowerCurrent-A:10.86, OpenCircuitVoltage-V:41.32
Solar | Solar | Canadian | Monocrystalline | Voltage-V:34.09, Power-W:375 | 3160 | MaxPowerCurrent-A:10.94, OpenCircuitVoltage-V:41
Cable | Cable | Geewiz | SingleCore-DC | Size-mm2:35, Length-m:1 | 147 | Red/Black
Cable | Cable | Geewiz | SingleCore-DC | Size-mm2:50, Length-m:1 | 221 | Red/Black
Rack | Rack | Renusol | Mounting Rail | Length-m:2.1 | 315 | Aluminium SolarFrame
Rack | Rack | Renusol | Mounting Rail | Length-m:4.2 | 587 | Aluminium SolarFrame
Generator | Petrol | Ryobi | Key-Start | Size-kVA:3.6 | 11000 | 4-Stroke
Generator | Petrol | Ryobi | Key-Start | Size-kVA:5.5 | 14000 | 4-Stroke
Generator | Petrol | Ryobi | Key-Start | Size-kVA:7.5 | 18000 | 4-Stroke
Generator | Petrol | Ryobi | Key-Start | Size-kVA:10 | 21000 | 4-Stroke
Generator | Diesel | Ryobi | Key-Start | Size-kVA:4.5 | 30000 | 4-Stroke
Generator | Diesel | Ryobi | Key-Start | Size-kVA:6.4 | 36000 | 4-Stroke