## Sheet 1
ItemName | PackageGroup | Brand | TypeGroup | SizeGroup | ItemPrice | Extras | Img Url
Battery | Batteries | MaxLi | Lithium-ion | Voltage-V:12, Energy-kWh:1.2 | 11253.9 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Battery | Batteries | Hubble | Lithium-ion | Voltage-V:12, Energy-kWh:1.5 | 8044.25 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Battery | Batteries | Dyness | Lithium-ion | Voltage-V:48, Energy-kWh:2.4 | 13549.3 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Battery | Batteries | PylonTech | Lithium-ion | Voltage-V:48, Energy-kWh:3.5 | 20895.5 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Battery | Batteries | Dyness | Lithium-ion | Voltage-V:48, Energy-kWh:3.6 | 21755.7 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Battery | Batteries | Fusion | Lithium-ion | Voltage-V:48, Energy-kWh:4.8 | 26444.25 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Battery | Batteries | Forbatt | Lead Acid | Voltage-V:12, Energy-kWh:1.2, Capacity-Ah:100 | 3859.4 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Battery | Batteries | Deltec | Lead Calcium | Voltage-V:12, Energy-kWh:1.2, Capacity-Ah:105 | 2999.2 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Battery | Batteries | Dyness | Lithium-ion | Voltage-V:48, Energy-kWh:2.4 | 19836.35 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Battery | Batteries | Pylon | Lithium-ion | Voltage-V:48, Energy-kWh:3.5, DischargeVoltage-V:53.5, ChargeVoltage-V:53.5 | 30151.85 | SizeGroup:4,TypeGroup:1, Brand:1, PackageGroup:1
Battery | Batteries | RCT | Lead Acid | Voltage-V:12, Energy-kWh:1.2, Capacity-Ah:100 | 3460.35 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Battery | Batteries | RCT | Lead Acid | Voltage-V:12, Energy-kWh:2.4, Capacity-Ah:200 | 6346.85 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Battery | Batteries | Hubble | Lithium-ion | Voltage-V:12, Energy-kWh:1.5, DischargeVoltage-V:11, Capacity-Ah:120 | 8038.5 | SizeGroup:4,TypeGroup:1, Brand:1, PackageGroup:1
Battery | Batteries | Rentech | Lithium-ion | Voltage-V:25.6, Energy-kWh:2.56, RechargeVoltage-V:27.6, Capacity-Ah:100 | 18975 | SizeGroup:4,TypeGroup:1, Brand:1, PackageGroup:1
Battery | Batteries | Rentech | Lithium-ion | Voltage-V:25.6, Energy-kWh:5.12, RechargeVoltage-V:27.6, Capacity-Ah:200 | 26444.25 | SizeGroup:4,TypeGroup:1, Brand:1, PackageGroup:1
Generator | Petrol | Ryobi | Pull-Start | Size-kVA:1.2, EngineSize-Stroke: 4 | 5175 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1 | https://www.makro.co.za/sys-master/images/h06/h98/9800090222622/silo-MIN_237823_EAA_large
Generator | Petrol | Ryobi | Key-Start | Size-kVA:3.5, EngineSize-Stroke: 4 | 8050 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1 | https://www.builders.co.za/_ui/responsive/theme-yellow/images/products/product-image-transparent.png
Cable | Cable | Geewiz | SingleCore-DC | Size-mm2:35, Length-m:1 | 169.05 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1 | https://www.makro.co.za/sys-master/images/hc0/h4f/9800097300510/silo-MIN_159320_EAA_large
Cable | Cable | Geewiz | SingleCore-DC | Size-mm2:50, Length-m:1 | 254.15 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1 | https://www.makro.co.za/sys-master/images/hba/h86/9800090746910/silo-MIN_285367_EAA_large
Rack | Rack | Renusol | Mounting Rail | Length-m:2.1 | 362.25 | SizeGroup:1,TypeGroup:1, Brand:1, PackageGroup:1 | https://www.makro.co.za/sys-master/images/hba/h86/9800090746910/silo-MIN_285367_EAA_large
Rack | Rack | Renusol | Mounting Rail | Length-m:4.2 | 675.05 | SizeGroup:1,TypeGroup:1, Brand:1, PackageGroup:1 | https://3pmedia.leroymerlin.co.za/SOURCE/a424840859ea40f38d972c635c8539ec
Generator | Petrol | Ryobi | Key-Start | Size-kVA:5.5, EngineSize-Stroke: 4 | 13800 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1 | https://www.makro.co.za/sys-master/images/hc0/h4f/9800097300510/silo-MIN_159320_EAA_large
Generator | Petrol | Ryobi | Key-Start | Size-kVA:7.5, EngineSize-Stroke: 4 | 14950 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1 | https://www.makro.co.za/sys-master/images/hba/h86/9800090746910/silo-MIN_285367_EAA_large
Generator | Petrol | Ryobi | Key-Start | Size-kVA:10, EngineSize-Stroke: 4 | 24150 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1 | https://www.makro.co.za/sys-master/images/hba/h86/9800090746910/silo-MIN_285367_EAA_large
Generator | Diesel | GenTech Industries | Key-Start | Size-kVA:3, EngineSize-Stroke: 4 | 17250 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1 | https://3pmedia.leroymerlin.co.za/SOURCE/a424840859ea40f38d972c635c8539ec
Generator | Diesel | Talon | Electric-Start | Size-kVA:6, EngineSize-Stroke: 4 | 27706.95 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Generator | Diesel | GenTech Industries | Key-Start | Size-kVA:7, EngineSize-Stroke: 4 | 25300 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1 | https://3pmedia.leroymerlin.co.za/SOURCE/10f337c37a7845719d921542d1415339
Generator | Diesel | Talon | Electric-Start | Size-kVA:7, EngineSize-Stroke: 4 | 32996.95 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Generator | Diesel | Ryobi | Key-Start | Size-kVA:4.5, EngineSize-Stroke: 4 | 34500 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1 | https://www.makro.co.za/sys-master/images/hba/h86/9800090746910/silo-MIN_285367_EAA_large
Generator | Diesel | Ryobi | Key-Start | Size-kVA:6.4, EngineSize-Stroke: 4 | 41400 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1 | https://www.makro.co.za/sys-master/images/hba/h86/9800090746910/silo-MIN_285367_EAA_large
Inverter | Inverters | Mecer | Hybrid | Size-kVA:1.5, Voltage-V:12, Power-kW:1.2 | 4357.35 | SizeGroup:3,TypeGroup:1, Brand:1, PackageGroup:1
Inverter | Inverters | Mecer | Stand-alone | Size-kVA:3, Voltage-V:24, Power-kW:3 | 6900 | SizeGroup:3,TypeGroup:1, Brand:1, PackageGroup:1
Inverter | Inverters | Mecer | Stand-alone | Size-kVA:5, Voltage-V:48, Power-kW:4 | 12822.5 | SizeGroup:3,TypeGroup:1, Brand:1, PackageGroup:1
Inverter | Inverters | RCT-AXPERT | Stand-alone | Size-kVA:3, Voltage-V:48, Power-kW:3, MPPTVoltage-V:430 | 10471.9 | SizeGroup:4,TypeGroup:1, Brand:1, PackageGroup:1
Inverter | Inverters | RCT-AXPERT | Stand-alone | Size-kVA:5, Voltage-V:48, Power-kW:5, MPPTVoltage-V:115 | 15234.05 | SizeGroup:4,TypeGroup:1, Brand:1, PackageGroup:1
Inverter | Inverters | RCT-AXPERT | Stand-alone | Size-kVA:8, Voltage-V:48, Power-kW:8, MPPTVoltage-V:66 | 41260.85 | SizeGroup:4,TypeGroup:1, Brand:1, PackageGroup:1
Inverter | Inverters | TheCoolGuys | Hybrid | Size-kVA:3, InputVoltage-AC:230, OutputVoltage-AC:230, Power-kW:2.4, BatVoltage-V:24, MPPTVoltage-VDC:100 | 8625 | SizeGroup:6,TypeGroup:1, Brand:1, PackageGroup:1
Inverter | Inverters | TheCoolGuys | Hybrid | Size-kVA:5, InputVoltage-AC:230, OutputVoltage-AC:230, Power-kW:5, BatVoltage-V:48, MPPTVoltage-VDC:115 | 16100 | SizeGroup:6,TypeGroup:1, Brand:1, PackageGroup:1
Inverter | Inverters | TheCoolGuys | Hybrid, LeadAcid | Size-kVA:3, InputVoltage-AC:230, OutputVoltage-AC:230, Power-kW:2.4, BatVoltage-V:24, MPPTVoltage-VDC:100, 2BatEnergy-Ah:105 | 19544.25 | SizeGroup:7,TypeGroup:2, Brand:1, PackageGroup:2
Inverter | Inverters | TheCoolGuys | Hybrid, LeadAcid, SingleCore | Size-kVA:3, InputVoltage-AC:230, OutputVoltage-AC:230, Power-kW:2.4, BatVoltage-V:24, MPPTVoltage-VDC:100, 2BatEnergy-Ah:105, CableL-m:5 | 26450 | SizeGroup:8,TypeGroup:3, Brand:1, PackageGroup:3
Inverter | Inverters | TheCoolGuys | Hybrid, LeadAcid | Size-kVA:5, InputVoltage-AC:230, OutputVoltage-AC:230, Power-kW:5, BatVoltage-V:48, MPPTVoltage-VDC:115, 4BatEnergy-Ah:105 | 27542.5 | SizeGroup:7,TypeGroup:2, Brand:1, PackageGroup:2
Inverter | Inverters | TheCoolGuys | Hybrid, LeadAcid, SingleCore | Size-kVA:5, InputVoltage-AC:230, OutputVoltage-AC:230, Power-kW:5, BatVoltage-V:24, MPPTVoltage-VDC:115, 4BatEnergy-Ah:105, CableL-m:5 | 34477 | SizeGroup:8,TypeGroup:3, Brand:1, PackageGroup:3
Inverter | Inverters | Rentech-Axpert | Hybrid | Size-kVA:1, InputVoltage-AC:230, OutputVoltage-AC:230, Power-kW:1, BatVoltage-V:12, PWMCurrent-A:50 | 4038.8 | SizeGroup:6,TypeGroup:1, Brand:1, PackageGroup:1
Inverter | Inverters | Rentech-Jagular | Stand-alone | Size-kVA:2.4, InputVoltage-AC:230, OutputVoltage-AC:230, Power-kW:1.4, RecLABatVoltage-V:12 | 4401.05 | SizeGroup:5,TypeGroup:1, Brand:1, PackageGroup:1
Inverter | Inverters | Rentech-Axpert | Hybrid | Size-kVA:3, InputVoltage-AC:230, Power-kW:2.4, BatVoltage-V:24 | 7797 | SizeGroup:4,TypeGroup:1, Brand:1, PackageGroup:1
Inverter | Inverters | Rentech-Axpert | Hybrid | Size-kVA:5,InputVoltage-AC:230, OutputVoltage-AC:230, Power-kW:5, BatVoltage-V:48, MPPTCurrent-A:80 | 15746.95 | SizeGroup:6,TypeGroup:1, Brand:1, PackageGroup:1
Inverter | Inverters | Rentech-Axpert | Stand-alone | Size-kVA:5.6, InputVoltage-AC:230, OutputVoltage-AC:230, Power-kW:5.6, BatVoltage-V:48 | 17480 | SizeGroup:5,TypeGroup:1, Brand:1, PackageGroup:1
Inverter | Inverters | Rentech,Smart-Hubble | Stand-alone, Lithium-ion | Size-kVA:1, InputVoltage-AC:230, Power-kW:1, BatVoltage-V:12, BatEnergy-kWh:1.5 | 15864.25 | SizeGroup:5,TypeGroup:2, Brand:2, PackageGroup:2
Inverter | Inverters | Rentech,Smart-Hubble | Stand-alone, Lithium-ion | Size-kVA:3, InputVoltage-AC:230, Power-kW:2.4, BatVoltage-V:25, BatEnergy-kWh:2.75 | 40340.85 | SizeGroup:5,TypeGroup:2, Brand:2, PackageGroup:2
Inverter | Inverters | Rentech,Smart-Hubble | Stand-alone, Lithium-ion | Size-kVA:3, InputVoltage-AC:230, Power-kW:2.4, BatVoltage-V:25, BatEnergy-kWh:5.12 | 48275.85 | SizeGroup:5,TypeGroup:2, Brand:2, PackageGroup:2
Inverter | Inverters | Rentech,Smart-Hubble | Stand-alone, Lithium-ion | Size-kVA:5, InputVoltage-AC:230, Power-kW:5, BatVoltage-V:48, BatEnergy-kWh:5.5 | 67286.5 | SizeGroup:5,TypeGroup:2, Brand:2, PackageGroup:2
Inverter | Inverters | Victron,BlueNova | Stand-alone, Lithium-ion | Size-VA:500, InvVoltage-V:12, Power-W:430, BatVoltage-V:12, BatEnergy-Wh:570, BatCapacity-Ah:44 | 14614.2 | SizeGroup:5,TypeGroup:2, Brand:2, PackageGroup:2
Inverter | Inverters | Victron,BlueNova | Stand-alone, Lithium-ion | Size-VA:500, InvVoltage-V:12, Power-W:430, BatVoltage-V:12, 3BatEnergy-Wh:280, BatCapacity-Ah:22 | 16660.05 | SizeGroup:5,TypeGroup:2, Brand:2, PackageGroup:2
Inverter | Inverters | Victron,FreedomAuxillaryRange | Stand-alone, Lithium-ion | Size-kVA:1.2,InvVoltage-V:12, Power-kW:1, BatVoltage-V:12, BatEnergy-kWh:1, BatCapacity-Ah:100 | 27958.8 | SizeGroup:5,TypeGroup:2, Brand:2, PackageGroup:2
Inverter | Inverters | Ipower,Deltec | Stand-alone, Lead-Acid | Power-W:400, InvVoltage-V:12, BatVoltage-V:12, BatCapacity-Ah:105 | 6481.4 | SizeGroup:3,TypeGroup:2, Brand:2, PackageGroup:2
Inverter | Inverters | Ipower,Deltec | Stand-alone, Lead-Acid | Power-W:800, InvVoltage-V:12, BatVoltage-V:12, BatCapacity-Ah:105 | 8204.1 | SizeGroup:3,TypeGroup:2, Brand:2, PackageGroup:2
Inverter | Inverters | Victron,Deltec | Stand-alone, Lead-Acid | Size-VA:500, InvVoltage-V:12, Power-W:430, BatVoltage-V:12, BatCapacity-Ah:105 | 13881.65 | SizeGroup:4,TypeGroup:2, Brand:2, PackageGroup:2
Inverter | Inverters | Victron,Deltec | Stand-alone, Lead-Acid | Size-VA:800, InvVoltage-V:12, Power-W:700, BatVoltage-V:12, BatCapacity-Ah:105 | 15917.15 | SizeGroup:4,TypeGroup:2, Brand:2, PackageGroup:2
Inverter | Inverters | Victron,Deltec | Stand-alone, Lead-Acid | Size-kVA:1.2, InvVoltage-V:12, Power-kW:1, BatVoltage-V:12, BatCapacity-Ah:105, CableLength-mm:500 | 26767.4 | SizeGroup:5,TypeGroup:2, Brand:2, PackageGroup:2
Inverter | Inverters | Mecer,Royal | Stand-alone, Lithium-ion | Size-kVA:1.2, InvVoltage-V:12, Power-W:720, 2BatVoltage-V:12, 2BatEnergy-kWh:1.2, 2BatCapacity-Ah:100 | 10804.25 | SizeGroup:6,TypeGroup:2, Brand:2, PackageGroup:2
Inverter | Inverters | Microtek,Deltec | Stand-alone, Lithium-ion | Size-kVA:1.8, InvVoltage-V:24, Power-kW:1.4, 2BatVoltage-V:12, 2BatEnergy-kWh:1.2, 2BatCapacity-Ah:100 | 11034.25 | SizeGroup:6,TypeGroup:2, Brand:2, PackageGroup:2
Inverter | Inverters | Mecer,Hubble | Stand-alone, Lithium-ion | Size-kVA:2.4, InvVoltage-V:24, Power-kW:1.4, 2BatVoltage-V:12, 2BatEnergy-kWh:1.2, 2BatCapacity-Ah:100 | 21154.25 | SizeGroup:6,TypeGroup:2, Brand:2, PackageGroup:2
Inverter | Inverters | Mecer,Hubble | Stand-alone, Lithium-ion | Size-kVA:3, Power-kW:1.4, PWMCurrent-A:60, 2BatCapacity-Ah:120 | 25288.5 | SizeGroup:3,TypeGroup:2, Brand:2, PackageGroup:2
Solar | Solar | CNBM | Polycrystalline | Voltage-V:37.5, Power-W:330, MaxPowerCurrent-A:8.89, OpenCircuitVoltage-V:47 | 2587.5 | SizeGroup:4,TypeGroup:1, Brand:1, PackageGroup:1
Solar | Solar | Renewsys | Polycrystalline | Voltage-V:37.9, Power-W:335, MaxPowerCurrent-A:8.85, OpenCircuitVoltage-V:46.27 | 3433.9 | SizeGroup:4,TypeGroup:1, Brand:1, PackageGroup:1
Solar | Solar | Canadian Solar | Monocrystalline | Voltage-V:33.9, Power-W:365, MaxPowerCurrent-A:10.78, OpenCircuitVoltage-V:40.6 | 3759.35 | SizeGroup:4,TypeGroup:1, Brand:1, PackageGroup:1
Solar | Solar | JA Solar | Monocrystalline | Voltage-V:33.96, Power-W:365, MaxPowerCurrent-A:10.75, OpenCircuitVoltage-V:41.13 | 3653.55 | SizeGroup:4,TypeGroup:1, Brand:1, PackageGroup:1
Solar | Solar | Axitec | Monocrystalline | Voltage-V:34.09, Power-W:370, MaxPowerCurrent-A:10.86, OpenCircuitVoltage-V:41.32 | 3217.7 | SizeGroup:4,TypeGroup:1, Brand:1, PackageGroup:1
Solar | Solar | Canadian Solar | Monocrystalline | Voltage-V:34.09, Power-W:375, MaxPowerCurrent-A:10.94, OpenCircuitVoltage-V:41 | 3634 | SizeGroup:4,TypeGroup:1, Brand:1, PackageGroup:1
Solar | Solars | Renewsys,Victron,Excis,PanelFlex | Poly,Hybrid,Gel/AGM,SolarCable | SolarSize-W:335, InvSize-VA:800, InvVoltage-V:12, InvPower-W:700, MPPTCurrent-A:30, 2BatEnergy-kWh:1.5, 2BatVoltage-V:12, 2BatCapacity-Ah:102, 2CableSize-mm2:6, 2CableLength-m:6 | 35255.55 | SizeGroup:7,TypeGroup:4, Brand:4, PackageGroup:4
Solar | Solars | Renewsys,Victron,Probe-Energy,PanelFlex | Poly,Hybrid,AGM,SolarCable | 2SolarSize-W:335, InvSize-kVA:1.2, InvVoltage-V:24, InvPower-kW:1, MPPTCurrent-A:50, 2BatEnergy-kWh:3, 2BatVoltage-V:12, 2BatCapacity-Ah:220, 2CableSize-mm2:6, 2CableLength-m:8, 2CableSize-mm2:10, 2CableLength-m:2 | 44369.3 | SizeGroup:10,TypeGroup:4, Brand:4, PackageGroup:4, CableSize:2, CableLength:2
Solar | Solars | Renewsys,RCT-Axpert,Probe-Energy,PanelFlex | Poly,Hybrid,AGM,SolarCable | 4SolarSize-W:335, InvSize-kVA:3, InvVoltage-V:24, InvPower-kW:3, 2BatEnergy-kWh:2.4, 2BatVoltage-V:12, 2BatCapacity-Ah:220, 2CableSize-mm2:6, 2CableLength-m:20, 2CableSize-mm2:25, 2CableLength-m:2 | 45158.2 | SizeGroup:9,TypeGroup:4, Brand:4, PackageGroup:4, CableSize:2, CableLength:2
0
0
0
0

## Packages
| PackageGroup | Brand | TypeGroup | SizeGroup | ItemPrice | Extras
Battery | Batteries | MaxLi | Lithium-ion | Voltage-V:12, Energy-kWh:1.2 | 11253.9 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Battery | Batteries | Hubble | Lithium-ion | Voltage-V:12, Energy-kWh:1.5 | 8044.25 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Battery | Batteries | Dyness | Lithium-ion | Voltage-V:48, Energy-kWh:2.4 | 13549.3 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Battery | Batteries | PylonTech | Lithium-ion | Voltage-V:48, Energy-kWh:3.5 | 20895.5 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Battery | Batteries | Dyness | Lithium-ion | Voltage-V:48, Energy-kWh:3.6 | 21755.7 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Battery | Batteries | Fusion | Lithium-ion | Voltage-V:48, Energy-kWh:4.8 | 26444.25 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Battery | Batteries | Forbatt | Lead Acid | Voltage-V:12, Energy-kWh:1.2, Capacity-Ah:100 | 3859.4 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Battery | Batteries | Deltec | Lead Calcium | Voltage-V:12, Energy-kWh:1.2, Capacity-Ah:105 | 2999.2 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Battery | Batteries | Dyness | Lithium-ion | Voltage-V:48, Energy-kWh:2.4 | 19836.35 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Battery | Batteries | Pylon | Lithium-ion | Voltage-V:48, Energy-kWh:3.5, DischargeVoltage-V:53.5, ChargeVoltage-V:53.5 | 30151.85 | SizeGroup:4,TypeGroup:1, Brand:1, PackageGroup:1
Battery | Batteries | RCT | Lead Acid | Voltage-V:12, Energy-kWh:1.2, Capacity-Ah:100 | 3460.35 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Battery | Batteries | RCT | Lead Acid | Voltage-V:12, Energy-kWh:2.4, Capacity-Ah:200 | 6346.85 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Battery | Batteries | Hubble | Lithium-ion | Voltage-V:12, Energy-kWh:1.5, DischargeVoltage-V:11, Capacity-Ah:120 | 8038.5 | SizeGroup:4,TypeGroup:1, Brand:1, PackageGroup:1
Battery | Batteries | Rentech | Lithium-ion | Voltage-V:25.6, Energy-kWh:2.56, RechargeVoltage-V:27.6, Capacity-Ah:100 | 18975 | SizeGroup:4,TypeGroup:1, Brand:1, PackageGroup:1
Battery | Batteries | Rentech | Lithium-ion | Voltage-V:25.6, Energy-kWh:5.12, RechargeVoltage-V:27.6, Capacity-Ah:200 | 26444.25 | SizeGroup:4,TypeGroup:1, Brand:1, PackageGroup:1
Generator | Petrol | Ryobi | Pull-Start | Size-kVA:1.2, EngineSize-Stroke: 4 | 5175 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Generator | Petrol | Ryobi | Key-Start | Size-kVA:3.5, EngineSize-Stroke: 4 | 8050 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Cable | Cable | Geewiz | SingleCore-DC | Size-mm2:35, Length-m:1 | 169.05 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Cable | Cable | Geewiz | SingleCore-DC | Size-mm2:50, Length-m:1 | 254.15 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Rack | Rack | Renusol | Mounting Rail | Length-m:2.1 | 362.25 | SizeGroup:1,TypeGroup:1, Brand:1, PackageGroup:1
Rack | Rack | Renusol | Mounting Rail | Length-m:4.2 | 675.05 | SizeGroup:1,TypeGroup:1, Brand:1, PackageGroup:1
Generator | Petrol | Ryobi | Key-Start | Size-kVA:5.5, EngineSize-Stroke: 4 | 13800 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Generator | Petrol | Ryobi | Key-Start | Size-kVA:7.5, EngineSize-Stroke: 4 | 14950 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Generator | Petrol | Ryobi | Key-Start | Size-kVA:10, EngineSize-Stroke: 4 | 24150 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Generator | Diesel | GenTech Industries | Key-Start | Size-kVA:3, EngineSize-Stroke: 4 | 17250 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Generator | Diesel | Talon | Electric-Start | Size-kVA:6, EngineSize-Stroke: 4 | 27706.95 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Generator | Diesel | GenTech Industries | Key-Start | Size-kVA:7, EngineSize-Stroke: 4 | 25300 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Generator | Diesel | Talon | Electric-Start | Size-kVA:7, EngineSize-Stroke: 4 | 32996.95 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Generator | Diesel | Ryobi | Key-Start | Size-kVA:4.5, EngineSize-Stroke: 4 | 34500 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Generator | Diesel | Ryobi | Key-Start | Size-kVA:6.4, EngineSize-Stroke: 4 | 41400 | SizeGroup:2,TypeGroup:1, Brand:1, PackageGroup:1
Inverter | Inverters | Mecer | Hybrid | Size-kVA:1.5, Voltage-V:12, Power-kW:1.2 | 4357.35 | SizeGroup:3,TypeGroup:1, Brand:1, PackageGroup:1
Inverter | Inverters | Mecer | Stand-alone | Size-kVA:3, Voltage-V:24, Power-kW:3 | 6900 | SizeGroup:3,TypeGroup:1, Brand:1, PackageGroup:1
Inverter | Inverters | Mecer | Stand-alone | Size-kVA:5, Voltage-V:48, Power-kW:4 | 12822.5 | SizeGroup:3,TypeGroup:1, Brand:1, PackageGroup:1
Inverter | Inverters | RCT-AXPERT | Stand-alone | Size-kVA:3, Voltage-V:48, Power-kW:3, MPPTVoltage-V:430 | 10471.9 | SizeGroup:4,TypeGroup:1, Brand:1, PackageGroup:1
Inverter | Inverters | RCT-AXPERT | Stand-alone | Size-kVA:5, Voltage-V:48, Power-kW:5, MPPTVoltage-V:115 | 15234.05 | SizeGroup:4,TypeGroup:1, Brand:1, PackageGroup:1
Inverter | Inverters | RCT-AXPERT | Stand-alone | Size-kVA:8, Voltage-V:48, Power-kW:8, MPPTVoltage-V:66 | 41260.85 | SizeGroup:4,TypeGroup:1, Brand:1, PackageGroup:1
Inverter | Inverters | TheCoolGuys | Hybrid | Size-kVA:3, InputVoltage-AC:230, OutputVoltage-AC:230, Power-kW:2.4, BatVoltage-V:24, MPPTVoltage-VDC:100 | 8625 | SizeGroup:6,TypeGroup:1, Brand:1, PackageGroup:1
Inverter | Inverters | TheCoolGuys | Hybrid | Size-kVA:5, InputVoltage-AC:230, OutputVoltage-AC:230, Power-kW:5, BatVoltage-V:48, MPPTVoltage-VDC:115 | 16100 | SizeGroup:6,TypeGroup:1, Brand:1, PackageGroup:1
Inverter | Inverters | TheCoolGuys | Hybrid, LeadAcid | Size-kVA:3, InputVoltage-AC:230, OutputVoltage-AC:230, Power-kW:2.4, BatVoltage-V:24, MPPTVoltage-VDC:100, 2BatEnergy-Ah:105 | 19544.25 | SizeGroup:7,TypeGroup:2, Brand:1, PackageGroup:2
Inverter | Inverters | TheCoolGuys | Hybrid, LeadAcid, SingleCore | Size-kVA:3, InputVoltage-AC:230, OutputVoltage-AC:230, Power-kW:2.4, BatVoltage-V:24, MPPTVoltage-VDC:100, 2BatEnergy-Ah:105, CableL-m:5 | 26450 | SizeGroup:8,TypeGroup:3, Brand:1, PackageGroup:3
Inverter | Inverters | TheCoolGuys | Hybrid, LeadAcid | Size-kVA:5, InputVoltage-AC:230, OutputVoltage-AC:230, Power-kW:5, BatVoltage-V:48, MPPTVoltage-VDC:115, 4BatEnergy-Ah:105 | 27542.5 | SizeGroup:7,TypeGroup:2, Brand:1, PackageGroup:2
Inverter | Inverters | TheCoolGuys | Hybrid, LeadAcid, SingleCore | Size-kVA:5, InputVoltage-AC:230, OutputVoltage-AC:230, Power-kW:5, BatVoltage-V:24, MPPTVoltage-VDC:115, 4BatEnergy-Ah:105, CableL-m:5 | 34477 | SizeGroup:8,TypeGroup:3, Brand:1, PackageGroup:3
Inverter | Inverters | Rentech-Axpert | Hybrid | Size-kVA:1, InputVoltage-AC:230, OutputVoltage-AC:230, Power-kW:1, BatVoltage-V:12, PWMCurrent-A:50 | 4038.8 | SizeGroup:6,TypeGroup:1, Brand:1, PackageGroup:1
Inverter | Inverters | Rentech-Jagular | Stand-alone | Size-kVA:2.4, InputVoltage-AC:230, OutputVoltage-AC:230, Power-kW:1.4, RecLABatVoltage-V:12 | 4401.05 | SizeGroup:5,TypeGroup:1, Brand:1, PackageGroup:1
Inverter | Inverters | Rentech-Axpert | Hybrid | Size-kVA:3, InputVoltage-AC:230, Power-kW:2.4, BatVoltage-V:24 | 7797 | SizeGroup:4,TypeGroup:1, Brand:1, PackageGroup:1
Inverter | Inverters | Rentech-Axpert | Hybrid | Size-kVA:5,InputVoltage-AC:230, OutputVoltage-AC:230, Power-kW:5, BatVoltage-V:48, MPPTCurrent-A:80 | 15746.95 | SizeGroup:6,TypeGroup:1, Brand:1, PackageGroup:1
Inverter | Inverters | Rentech-Axpert | Stand-alone | Size-kVA:5.6, InputVoltage-AC:230, OutputVoltage-AC:230, Power-kW:5.6, BatVoltage-V:48 | 17480 | SizeGroup:5,TypeGroup:1, Brand:1, PackageGroup:1
Inverter | Inverters | Rentech,Smart-Hubble | Stand-alone, Lithium-ion | Size-kVA:1, InputVoltage-AC:230, Power-kW:1, BatVoltage-V:12, BatEnergy-kWh:1.5 | 15864.25 | SizeGroup:5,TypeGroup:2, Brand:2, PackageGroup:2
Inverter | Inverters | Rentech,Smart-Hubble | Stand-alone, Lithium-ion | Size-kVA:3, InputVoltage-AC:230, Power-kW:2.4, BatVoltage-V:25, BatEnergy-kWh:2.75 | 40340.85 | SizeGroup:5,TypeGroup:2, Brand:2, PackageGroup:2
Inverter | Inverters | Rentech,Smart-Hubble | Stand-alone, Lithium-ion | Size-kVA:3, InputVoltage-AC:230, Power-kW:2.4, BatVoltage-V:25, BatEnergy-kWh:5.12 | 48275.85 | SizeGroup:5,TypeGroup:2, Brand:2, PackageGroup:2
Inverter | Inverters | Rentech,Smart-Hubble | Stand-alone, Lithium-ion | Size-kVA:5, InputVoltage-AC:230, Power-kW:5, BatVoltage-V:48, BatEnergy-kWh:5.5 | 67286.5 | SizeGroup:5,TypeGroup:2, Brand:2, PackageGroup:2
Inverter | Inverters | Victron,BlueNova | Stand-alone, Lithium-ion | Size-VA:500, InvVoltage-V:12, Power-W:430, BatVoltage-V:12, BatEnergy-Wh:570, BatCapacity-Ah:44 | 14614.2 | SizeGroup:5,TypeGroup:2, Brand:2, PackageGroup:2
Inverter | Inverters | Victron,BlueNova | Stand-alone, Lithium-ion | Size-VA:500, InvVoltage-V:12, Power-W:430, BatVoltage-V:12, 3BatEnergy-Wh:280, BatCapacity-Ah:22 | 16660.05 | SizeGroup:5,TypeGroup:2, Brand:2, PackageGroup:2
Inverter | Inverters | Victron,FreedomAuxillaryRange | Stand-alone, Lithium-ion | Size-kVA:1.2,InvVoltage-V:12, Power-kW:1, BatVoltage-V:12, BatEnergy-kWh:1, BatCapacity-Ah:100 | 27958.8 | SizeGroup:5,TypeGroup:2, Brand:2, PackageGroup:2
Inverter | Inverters | Ipower,Deltec | Stand-alone, Lead-Acid | Power-W:400, InvVoltage-V:12, BatVoltage-V:12, BatCapacity-Ah:105 | 6481.4 | SizeGroup:3,TypeGroup:2, Brand:2, PackageGroup:2
Inverter | Inverters | Ipower,Deltec | Stand-alone, Lead-Acid | Power-W:800, InvVoltage-V:12, BatVoltage-V:12, BatCapacity-Ah:105 | 8204.1 | SizeGroup:3,TypeGroup:2, Brand:2, PackageGroup:2
Inverter | Inverters | Victron,Deltec | Stand-alone, Lead-Acid | Size-VA:500, InvVoltage-V:12, Power-W:430, BatVoltage-V:12, BatCapacity-Ah:105 | 13881.65 | SizeGroup:4,TypeGroup:2, Brand:2, PackageGroup:2
Inverter | Inverters | Victron,Deltec | Stand-alone, Lead-Acid | Size-VA:800, InvVoltage-V:12, Power-W:700, BatVoltage-V:12, BatCapacity-Ah:105 | 15917.15 | SizeGroup:4,TypeGroup:2, Brand:2, PackageGroup:2
Inverter | Inverters | Victron,Deltec | Stand-alone, Lead-Acid | Size-kVA:1.2, InvVoltage-V:12, Power-kW:1, BatVoltage-V:12, BatCapacity-Ah:105, CableLength-mm:500 | 26767.4 | SizeGroup:5,TypeGroup:2, Brand:2, PackageGroup:2
Inverter | Inverters | Mecer,Royal | Stand-alone, Lithium-ion | Size-kVA:1.2, InvVoltage-V:12, Power-W:720, 2BatVoltage-V:12, 2BatEnergy-kWh:1.2, 2BatCapacity-Ah:100 | 10804.25 | SizeGroup:6,TypeGroup:2, Brand:2, PackageGroup:2
Inverter | Inverters | Microtek,Deltec | Stand-alone, Lithium-ion | Size-kVA:1.8, InvVoltage-V:24, Power-kW:1.4, 2BatVoltage-V:12, 2BatEnergy-kWh:1.2, 2BatCapacity-Ah:100 | 11034.25 | SizeGroup:6,TypeGroup:2, Brand:2, PackageGroup:2
Inverter | Inverters | Mecer,Hubble | Stand-alone, Lithium-ion | Size-kVA:2.4, InvVoltage-V:24, Power-kW:1.4, 2BatVoltage-V:12, 2BatEnergy-kWh:1.2, 2BatCapacity-Ah:100 | 21154.25 | SizeGroup:6,TypeGroup:2, Brand:2, PackageGroup:2
Inverter | Inverters | Mecer,Hubble | Stand-alone, Lithium-ion | Size-kVA:3, Power-kW:1.4, PWMCurrent-A:60, 2BatCapacity-Ah:120 | 25288.5 | SizeGroup:3,TypeGroup:2, Brand:2, PackageGroup:2
Solar | Solar | CNBM | Polycrystalline | Voltage-V:37.5, Power-W:330, MaxPowerCurrent-A:8.89, OpenCircuitVoltage-V:47 | 2587.5 | SizeGroup:4,TypeGroup:1, Brand:1, PackageGroup:1
Solar | Solar | Renewsys | Polycrystalline | Voltage-V:37.9, Power-W:335, MaxPowerCurrent-A:8.85, OpenCircuitVoltage-V:46.27 | 3433.9 | SizeGroup:4,TypeGroup:1, Brand:1, PackageGroup:1
Solar | Solar | Canadian Solar | Monocrystalline | Voltage-V:33.9, Power-W:365, MaxPowerCurrent-A:10.78, OpenCircuitVoltage-V:40.6 | 3759.35 | SizeGroup:4,TypeGroup:1, Brand:1, PackageGroup:1
Solar | Solar | JA Solar | Monocrystalline | Voltage-V:33.96, Power-W:365, MaxPowerCurrent-A:10.75, OpenCircuitVoltage-V:41.13 | 3653.55 | SizeGroup:4,TypeGroup:1, Brand:1, PackageGroup:1
Solar | Solar | Axitec | Monocrystalline | Voltage-V:34.09, Power-W:370, MaxPowerCurrent-A:10.86, OpenCircuitVoltage-V:41.32 | 3217.7 | SizeGroup:4,TypeGroup:1, Brand:1, PackageGroup:1
Solar | Solar | Canadian Solar | Monocrystalline | Voltage-V:34.09, Power-W:375, MaxPowerCurrent-A:10.94, OpenCircuitVoltage-V:41 | 3634 | SizeGroup:4,TypeGroup:1, Brand:1, PackageGroup:1
Solar | Solars | Renewsys,Victron,Excis,PanelFlex | Poly,Hybrid,Gel/AGM,SolarCable | SolarSize-W:335, InvSize-VA:800, InvVoltage-V:12, InvPower-W:700, MPPTCurrent-A:30, 2BatEnergy-kWh:1.5, 2BatVoltage-V:12, 2BatCapacity-Ah:102, 2CableSize-mm2:6, 2CableLength-m:6 | 35255.55 | SizeGroup:7,TypeGroup:4, Brand:4, PackageGroup:4
Solar | Solars | Renewsys,Victron,Probe-Energy,PanelFlex | Poly,Hybrid,AGM,SolarCable | 2SolarSize-W:335, InvSize-kVA:1.2, InvVoltage-V:24, InvPower-kW:1, MPPTCurrent-A:50, 2BatEnergy-kWh:3, 2BatVoltage-V:12, 2BatCapacity-Ah:220, 2CableSize-mm2:6, 2CableLength-m:8, 2CableSize-mm2:10, 2CableLength-m:2 | 44369.3 | SizeGroup:10,TypeGroup:4, Brand:4, PackageGroup:4, CableSize:2, CableLength:2
Solar | Solars | Renewsys,RCT-Axpert,Probe-Energy,PanelFlex | Poly,Hybrid,AGM,SolarCable | 4SolarSize-W:335, InvSize-kVA:3, InvVoltage-V:24, InvPower-kW:3, 2BatEnergy-kWh:2.4, 2BatVoltage-V:12, 2BatCapacity-Ah:220, 2CableSize-mm2:6, 2CableLength-m:20, 2CableSize-mm2:25, 2CableLength-m:2 | 45158.2 | SizeGroup:9,TypeGroup:4, Brand:4, PackageGroup:4, CableSize:2, CableLength:2
0
0
0
0
Inverter | Inverters | RCT-AXPERT | Stand-alone | Size-kVA:3, Voltage-V:48, Power-kW:3, MPPTVoltage-V:430 | 10471.9 | 3kva
Battery | Batteries | Dyness | Lithium-ion | Voltage-V:48, Energy-kWh:2.4 | 13549.3 | 2.4kwh
Solar | Solar | CNBM | Polycrystalline | Voltage-V:37.5, Power-W:330, MaxPowerCurrent-A:8.89, OpenCircuitVoltage-V:47 | 15525 | 6x330w
39546.2
Inverter | Inverters | RCT-AXPERT | Stand-alone | Size-kVA:3, Voltage-V:48, Power-kW:3, MPPTVoltage-V:430 | 10471.9 | 3kva
Battery | Batteries | Dyness | Lithium-ion | Voltage-V:48, Energy-kWh:2.4 | 27098.6 | 2.4kwh x 2
Solar | Solar | CNBM | Polycrystalline | Voltage-V:37.5, Power-W:330, MaxPowerCurrent-A:8.89, OpenCircuitVoltage-V:47 | 20700 | 8x330w
58270.5
Inverter | Inverters | RCT-AXPERT | Stand-alone | Size-kVA:5, Voltage-V:48, Power-kW:5, MPPTVoltage-V:115 | 15234.05 | 5kva
Battery | Batteries | Fusion | Lithium-ion | Voltage-V:48, Energy-kWh:4.8 | 26444.25 | 4.8kwh
Solar | Solar | Canadian Solar | Monocrystalline | Voltage-V:34.09, Power-W:375, MaxPowerCurrent-A:10.94, OpenCircuitVoltage-V:41 | 29072 | 8x375w
70750.3
Inverter | Inverters | RCT-AXPERT | Stand-alone | Size-kVA:5, Voltage-V:48, Power-kW:5, MPPTVoltage-V:115 | 15234.05 | 5kva
Battery | Batteries | Fusion | Lithium-ion | Voltage-V:48, Energy-kWh:4.8 | 52888.5 | 4.8kwh x 2
Solar | Solar | Canadian Solar | Monocrystalline | Voltage-V:34.09, Power-W:375, MaxPowerCurrent-A:10.94, OpenCircuitVoltage-V:41 | 36340 | 10x375w
104462.55
Inverter | Inverters | RCT-AXPERT | Stand-alone | Size-kVA:8, Voltage-V:48, Power-kW:8, MPPTVoltage-V:66 | 41260.85 | 8kva
Battery | Batteries | Fusion | Lithium-ion | Voltage-V:48, Energy-kWh:4.8 | 52888.5 | 2 x 4.8kwh
Solar | Solar | Canadian Solar | Monocrystalline | Voltage-V:34.09, Power-W:375, MaxPowerCurrent-A:10.94, OpenCircuitVoltage-V:41 | 36340 | 10x375w
[5 empty] | 130489.35 |  | 0 | 0 | 0 | 0 | 0 | 0 | 3kva
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 2.4kwh
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 6x330w
0
Inverter | Inverters | RCT-AXPERT | Stand-alone | Size-kVA:8, Voltage-V:48, Power-kW:8, MPPTVoltage-V:66 | 41260.85 | 8kva
Battery | Batteries | Fusion | Lithium-ion | Voltage-V:48, Energy-kWh:4.8 | 52888.5 | 2 x 4.8kwh | 0 | 0 | 0 | 0 | 0 | 0 | 3kva
Solar | Solar | Canadian Solar | Monocrystalline | Voltage-V:34.09, Power-W:375, MaxPowerCurrent-A:10.94, OpenCircuitVoltage-V:41 | 43608 | 12x375w | 0 | 0 | 0 | 0 | 0 | 0 | 2.4kwh x 2
[5 empty] | 137757.35 |  | 0 | 0 | 0 | 0 | 0 | 0 | 8x330w
0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 5kva
Inverter | Inverters | RCT-AXPERT | Stand-alone | Size-kVA:8, Voltage-V:48, Power-kW:8, MPPTVoltage-V:66 | 41260.85 | 8kva | 0 | 0 | 0 | 0 | 0 | 0 | 4.8kwh
Battery | Batteries | Fusion | Lithium-ion | Voltage-V:48, Energy-kWh:4.8 | 79332.75 | 3 x 4.8kwh | 0 | 0 | 0 | 0 | 0 | 0 | 8x375w
Solar | Solar | Canadian Solar | Monocrystalline | Voltage-V:34.09, Power-W:375, MaxPowerCurrent-A:10.94, OpenCircuitVoltage-V:41 | 50876 | 14x375w | [5 empty] | 0
171469.6
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 5kva
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 4.8kwh x 2
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 10x375w
0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 8kva
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 2 x 4.8kwh
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 10x375w
0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 8kva
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 2 x 4.8kwh
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 12x375w
0
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 8kva
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 3 x 4.8kwh
[7 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 14x375w
0

## RBCPriceGenerator
ItemPrice
3789 | 4357.35
6000 | 6900
11150 | 12822.5
9786 | 11253.9
6995 | 8044.25
11782 | 13549.3
18170 | 20895.5
18918 | 21755.7
22995 | 26444.25
3356 | 3859.4
2608 | 2999.2
2250 | 2587.5
2986 | 3433.9
3269 | 3759.35
3177 | 3653.55
2798 | 3217.7
3160 | 3634
147 | 169.05
221 | 254.15
315 | 362.25
587 | 675.05
4500 | 5175
7000 | 8050
12000 | 13800
13000 | 14950
21000 | 24150
15000 | 17250
24093 | 27706.95
22000 | 25300
28693 | 32996.95
30000 | 34500
36000 | 41400
9106 | 10471.9
13247 | 15234.05
35879 | 41260.85
17249 | 19836.35
26219 | 30151.85
3009 | 3460.35
5519 | 6346.85
7500 | 8625
14000 | 16100
16995 | 19544.25
23000 | 26450
23950 | 27542.5
29980 | 34477
3512 | 4038.8
3827 | 4401.05
6780 | 7797
13693 | 15746.95
15200 | 17480
6990 | 8038.5
16500 | 18975
22995 | 26444.25
13795 | 15864.25
35079 | 40340.85
41979 | 48275.85
58510 | 67286.5
12708 | 14614.2
14487 | 16660.05
24312 | 27958.8
5636 | 6481.4
7134 | 8204.1
12071 | 13881.65
13841 | 15917.15
23276 | 26767.4
30657 | 35255.55
38582 | 44369.3
39268 | 45158.2
9395 | 10804.25
9595 | 11034.25
18395 | 21154.25
21990 | 25288.5